| Coil type | Magnetic Field(mT) | Detector Coil | Impedance(Ohm) | Enductance(mH) | Inductive reactance(Ohm) |
| --- | --- | --- | --- | --- | --- |
| Klasik | 2 |  | 8.9 | 21.4 | 13.44 |
| 500N(10V) | 10 |  | 12.5 | 76.7 | 48.19 |
| Butterfly Coil | 1 |  |  |  |  |
| beyaz | 5 |  |  |  |  |
| 120 spin | 0.5 |  |  | 65 | 41 |
| Helmholtz | 0.3 |  |  | 15 | 9.42 |

Pasco:Voltage:15v Voltage offset:5V Current:1.5A Frequency:100hz Duty cycle:%50 Amplitude:10V

Stm32:Frequency:100hz Duty cycle:%50

| Coil type | Magnetic Field | Voltage | Current(A) | Power(W) |
| --- | --- | --- | --- | --- |
| Klasik | 9 | 23.25 | 0.9 | 20.93 |
|  | 8 | 19.18 | 0.7 | 13.43 |
|  | 5.5 | 13.37 | 0.5 | 6.69 |
|  | 12 | 28.24 | 1.09 | 30.78 |
|  | 13.5 | 30 | 1.14 | 34.20 |

Detector                5.5mT                                                                          13.5mT

| Coil type | Magnetic Field(mT) | Voltage(V) | Current(A) | Power(W) |
| --- | --- | --- | --- | --- |
| Helmholtz | 1.5 | 16.9 | 0.14 | 2.37 |
|  | 1.8 | 20.7 | 0.17 | 3.52 |
|  | 2.1 | 24.62 | 0.2 | 4.92 |
|  | 2.4 | 27.6 | 0.22 | 6.07 |
|  | 2.8 | 32 | 0.26 | 8.32 |

Detector                1.5mT                                                                          2.8mT

| Coil type | Magnetic Field(mT) | Voltage(V) | Current(A) | Power(W) |
| --- | --- | --- | --- | --- |
| 500N | 6 | 16 | 0.41 | 6.6 |
|  | 8 | 20.3 | 0.52 | 10.6 |
|  | 9.8 | 24.1 | 0.62 | 14.9 |
|  | 11 | 27.6 | 0.7 | 19.54 |
|  | 12.5 | 31 | 0.79 | 24.42 |

Detector                6mT                                                                          12.5mT

| Coil type | Magnetic Field(mT) | Voltage(V) | Current(A) | Power(W) |
| --- | --- | --- | --- | --- |
| Butterfly Coil | 0.4 | 5.5 | 0.27 | 1.52 |
|  | 1 | 7 | 0.8 | 5.69 |
|  | 1.4 | 8.4 | 0.97 | 8.2 |
|  | 2 | 9.75 | 1.15 | 11.2 |

Detector                0.4mT                                                                          2mT

| Coil type | Magnetic Field(mT) | Voltage(V) | Current(A) | Power(W) |
| --- | --- | --- | --- | --- |
| 120n | 4 | 7 | 0.22 | 1.57 |
|  | 5 | 10.1 | 0.32 | 3.26 |
|  | 7.5 | 13.85 | 0.42 | 5.9 |
|  | 9.5 | 17.14 | 0.52 | 8.9 |
|  | 12 | 22.32 | 0.68 | 15.15 |

Detector                4mT                                                                          12mT

| Coil type | Magnetic Field(mT) | Voltage(V) | Current(A) | Power(W) |
| --- | --- | --- | --- | --- |
| Tms | 0.4 | 5.71 | 0.84 | 4.87 |
|  | 0.5 | 5.47 | 1.04 | 5.72 |
| 6.23mh | 4.5 | 5.71 | 0.9 | 5.14 |
|  | 0.5 | 5.19 | 0.1 | 0.56 |
|  | 6 | 5.7 | 1.08 | 6.3 |

Detector                0.4mT                                                                          6mT

| Coil type | Magnetic Field(mT) | Voltage(V) | Current(A) | Power(W) |
| --- | --- | --- | --- | --- |
| Logarithmic | 1.8 | 0.05 | 29.6 | 1.45 |
|  | 2 | 0.052 | 31.5 | 1.6 |

Detector 2mT

Pasco vs STM32

| Coil type | Magnetic field (Pasco)15v (mT) | Magnetic field(STM32) (mT) |
| --- | --- | --- |
| Klasik | 2 | 5.5 for 13.37V 0.5A |
| Helmholtz | 0.3 | 1.5 for 16V 0.14A |
| 500n | 10 for 10V( power supply) | 12.5 for 31V 0.79A |
| Butterfly | 1 | 2 for 9.75V 1.15A |