| Voltage=8V |  | temperature(°) | temperature(°) | magnetic field(mT ) | magnetic field(mT ) |
| --- | --- | --- | --- | --- | --- |
| Frequency | Time(minutes) | cancerous tissue | healthy tissue | cancerous tissue | healthy tissue |
| 76hz | 0 | 5.9 | 4.1 | 6 | 5 |
| 76hz | 5 | 8.2 | 5.8 | 6 | 5 |
| 107hz | 0 | 8.2 | 5.8 | 2.5 | 3 |
| 107hz | 5 | 10.1 | 7.3 | 2.5 | 3 |
| 147hz | 0 | 10.1 | 7.3 | 0.2 | 0.4 |
| 147hz | 5 | 12.1 | 10 | 0.2 | 0.4 |

Frequency-Temp-Magnetic Field

| Voltage=10V |  | temperature(°) | temperature(°) | magnetic field(mT ) | magnetic field(mT ) |
| --- | --- | --- | --- | --- | --- |
| Frequency | Time(minutes) | cancerous tissue | healthy tissue | cancerous tissue | healthy tissue |
| 76hz | 0 | 14 | 15 | 8 | 9.5 |
| 76hz | 5 | 15.4 | 17.7 | 8 | 9.5 |
| 107hz | 0 | 15.4 | 17.7 | 4 | 5 |
| 107hz | 5 | 16.4 | 18.3 | 4 | 5 |
| 147hz | 0 | 16.4 | 18.3 | 0.5 | 0.6 |
| 147hz | 5 | 18.7 | 19.2 | 0.5 | 0.6 |

Sweep-Magnetic field-Signal type

| Voltage=10V |  |  |  |
| --- | --- | --- | --- |
| Frequency=76hz |  | Magnetic field(mT) | Magnetic field(mT) |
|  | Signal Type | Sweep close | Sweep open |
|  | Sine | 12 | 0-10 |
|  | Square( Duty cycle:%25) | 7 | 0-3 |
|  | Triangular | 10 | 0-5 |

| Voltage=10V |  |  |  |
| --- | --- | --- | --- |
| Frequency=107hz |  | Magnetic field(mT) | Magnetic field(mT) |
|  | Signal Type | Sweep close | Sweep open |
|  | Sine | 5 | 0-0.5 |
|  | Square( Duty cycle:%25) | 3 | 0-2 |
|  | Triangular | 4.5 | 0-0.5 |

| Voltage=10V |  |  |  |
| --- | --- | --- | --- |
| Frequency=147hz |  | Magnetic field(mT) | Magnetic field(mT) |
|  | Signal Type | Sweep close | Sweep open |
|  | Sine | 1 | 0-0.5 |
|  | Square( Duty cycle:%25) | 0.5 | 0-3 |
|  | Triangular | 1 | 0-3 |

Duty cycle-Magnetic field

| Voltage=10V |  |  |  |
| --- | --- | --- | --- |
| Frequency=76hz |  | Magnetic field(mT) | Magnetic field(mT) |
|  | Signal Type | Sweep close | Sweep open |
|  | Square( Duty cycle:%35) | 10 | 0-1 |

| Voltage=10V |  |  |  |
| --- | --- | --- | --- |
| Frequency=107hz |  | Magnetic field(mT) | Magnetic field(mT) |
|  | Signal Type | Sweep close | Sweep open |
|  | Square( Duty cycle:%35) | 4 | 0-1 |

| Voltage=10V |  |  |  |
| --- | --- | --- | --- |
| Frequency=147hz |  | Magnetic field(mT) | Magnetic field(mT) |
|  | Signal Type | Sweep close | Sweep open |
|  | Square( Duty cycle:%35) | 1 | 0-4 |