| sinyal |  | Magnetic field(mT) | Sıcaklık (11.35) | 15 (11.50) | 30 (12.05) | 45 (12.20) | 60(12.35) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Puls,25 | pasco | 2 | 27.4 | 27.5 | 28.3 | 29 | 30.1 |
| Puls,25 | 500n | 6 | 27.8 | 28 | 32.4 | 37.3 | 46 |

Böbrek  500n

| Signal type | Time(Minutes) | Frequency(hz) | The temperature in the first zone cancerous tissue(°) | The temperature in the Second zone healthy tissue(°) | The temperature in the Third zone cancerous tissue(°) | The temperature in the Fourth zone healthy tissue(°) |
| --- | --- | --- | --- | --- | --- | --- |
| Puls,35 | 0 | 100 | 18 | 19 | 18 | 20.2 |
| Puls,35 | 10 | 100 | 20.1 | 22 | 19.6 | 20.5 |
| Puls,35 | 20 | 100 | 21.9 | 22.4 | 21 | 20.7 |
| Puls,35 | 35 | 100 | 23.5 | 23 | 22.4 | 21 |

Böbrek 500n

| Signal Type | Time(Minutes) | Frequency(Hz) | Temperature in healthy tissue | Temperature in cancerous tissue | Magnetic Field in iron powder spilled cancerous tissue | Magnetic Field in iron powder unshed cancerous tissue | Magnetic field in healthy tissue | Current(A) | Voltage(V) | Power(W) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Puls,35 | 0 | 100 | 11 | 12 | 5 mT | 4.5 mT | 4.2 mT | 2 | 4 | 5.6 |
| Puls,35 | 10 | 100 | 11.4 | 14.67 | 5 mT | 4.5 mT | 4.2 mT | 2 | 4 | 5.6 |
| Puls,35 | 20 | 100 | 11.9 | 17 | 5 mT | 4.5 mT | 4.2 mT | 2 | 4 | 5.6 |
| Puls,35 | 30 | 100 | 12.7 | 19.6 | 5 mT | 4.5 mT | 4.2 mT | 2 | 4 | 5.6 |

Pankreas

| sinyal | zaman | freq | sıcaklık | Manyetik alan(demir tozlu kanser) | Manyetik alan (demir tozsuz kanser) | Manyetik alan sağlıklı | akım | voltaj | güç |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Puls,35 | 0 | 100 | 7.1 | 4.9 | 4.2 | 4.1 | 2 | 4 | 5.6 |
| Puls,35 | 10 | 100 | 16.55 | 4.9 | 4.2 | 4.1 | 2 | 4 | 5.6 |
| Puls,35 | 20 | 100 | 20.92 | 4.9 | 4.2 | 4.1 | 2 | 4 | 5.6 |
| Puls,35 | 30 | 100 | 23.9 | 4.9 | 4.2 | 4.1 | 2 | 4 | 5.6 |

  Sıcaklık Artışı ve Manyetik Alan Analizi

- Farklı manyetik alan şiddetleri ve frekanslarında sıcaklık artışları ölçülmüştür.

- Deneyde,kanserli dokuda sıcaklık artışının daha belirgin olduğu gözlemlenmiştir.

- Sağlıklı doku ve demir tozsuz kanserli dokularda manyetik alanın nispeten daha düşük etkilere sahip olduğu görülmüştür.

  Manyetik Alanın Etkileri

- Manyetik alan değerleri, özellikle demir tozlu kanser dokusunda belirgin şekilde değişmektedir.

- Elektromanyetik alanın (EMA) doku üzerindeki etkisi, belirlenen farklı manyetik alan değerleri ile kıyaslanmıştır.

- 100 Hz frekansta demir tozlu kanser dokusunun manyetik alan şiddetinin daha yüksek olduğu tespit edilmiştir.